## Home Maintenance
Task | Area | Frequency | Status | Notes
Inspect roof for damage | Exterior | Annually
Clean gutters | Exterior | Bi-Annually
Check HVAC system | Mechanical | Quarterly
Replace air filters | Mechanical | Monthly
Test smoke detectors | Safety | Monthly
Check fire extinguisher | Safety | Annually
Clean dryer vent | Appliances | Annually
Check plumbing for leaks | Plumbing | Quarterly
Inspect water heater | Plumbing | Annually
Seal windows and doors | Insulation | Annually
Check garage door safety | Garage | Annually