## Maintenance Checklist
Industrial Building Maintenance Checklist
General Inspection
Check building exterior for cracks or damage | Completed
Inspect roof for leaks or damage | Completed
Check and clean gutters and downspouts | Completed
Electrical Systems
Inspect electrical panels | Completed
Test emergency lighting | Completed
Check backup generator | Completed
HVAC Systems
Inspect and replace air filters | Completed
Check for refrigerant leaks | Completed
Inspect thermostat function | Completed
Plumbing
Check for pipe leaks | Completed
Inspect restrooms and kitchens | Completed
Test water heaters | Completed
Safety Systems
Inspect fire extinguishers | Completed
Test smoke detectors | Completed
Check emergency exits | Completed