## Maintenance Schedule
Category | Maintenance Task | Daily | Weekly | Every 2 Weeks | Monthly | Quarterly | Every 6 Months | Annually | Every X Years | As Needed
Building Structure | Inspect Exterior Walls |  |  |  | ✓
| Check Masonry and Brickwork | [7 empty] | ✓
| Inspect Roof Arches |  | ✓
| Review Canopy Conditions |  | ✓
| Check Awning Stability |  | ✓
| Examine Eaves for Damage |  | ✓
| Inspect Garage and Lot Surface | [6 empty] | ✓
Roofing | Survey Tiles and Shingles | [6 empty] | ✓
| Clear Gutter Debris | [8 empty] | ✓
| Flush Roof Drains | [8 empty] | ✓
| Inspect Solar Mounts | [8 empty] | ✓
| Perform Roof Leak Test | [8 empty] | ✓
Windows & Doors | Inspect Main Doors | [7 empty] | ✓
| Clean Windows | [7 empty] | ✓
| Check Gate Mechanism | [7 empty] | ✓
Lighting | Replace Faulty Bulbs | [6 empty] | ✓
| Test Light Connections | [7 empty] | ✓
| Inspect Switchboards | [7 empty] | ✓
| Check Fixtures and Gaskets | [7 empty] | ✓
Electrical | Monitor Power Supply |  | ✓
| Test Wiring Integrity | [7 empty] | ✓
| Schedule Full Electrical Audit | [7 empty] | ✓